## Sheet1
Requirements | Recommendations [1] | Satisfied
Reactive Power Capability | Q (minimum) as percentage of rated power | P
Voltage & Recative Power Control Modes | Reactive power droop control | P
Primary Frequency Response | Provide frequency response | P
Voltage Disturbance Ride-hrough | Low voltage & high voltage ride through | P
Frerquency Ride-through | Low frequency & high frequency ride through | P